{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["start","input","calculation","example"],"not_rendered":{"charts":0,"images":10,"macros":1,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"start","index":0,"n_rows":36,"n_cols":2,"rows_kept":36,"cut":false,"hidden":true,"merged":[]}
[]
[null,"Das Makro ist momentan nicht aktiviert"]
[null,"Bitte Aktivieren Sie das Makro"]
[null,"Ohne Makro funktioniert diese Datei nicht"]
[]
[null,"roland.schnurr@sixsigmablackbelt.de"]
[]
[null,"https://www.sixsigmablackbelt.de"]
[]
[null,"Abhängig von den Einstellungen in Microsoft Office kann es sein, dass Microsoft Dateien aus dem Internet "]
[null,"mit der Endung .xlsb grundsätzlich beim Öffnen mit folgendem Warnhinweis versieht."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,"Alle Dateien auf dieser Website sind grundsätzlich mit virustotal auf Freiheit von Viren überprüft."]
[null,"Virustotal prüft mit den 63 gängigsten Virenprogrammen auf Virenfreiheit."]
[]
[null,"Möchten Sie mit unseren Dateien arbeiten und Microsoft gibt Ihnen obigen Hinweis, gehen Sie wie folgt vor:"]
[]
[null,{"$f":"\"- Speichern Sie die Datei\"","v":"- Speichern Sie die Datei"}]
[null,{"$f":"\"- Wählen Sie den Speicherort (im Standardordner „downloads“).\"","v":"- Wählen Sie den Speicherort (im Standardordner „downloads“)."}]
[null,{"$f":"\"- Datei auswählen\"","v":"- Datei auswählen"}]
[null,{"$f":"\"- rechte Maustaste\"","v":"- rechte Maustaste"}]
[null,{"$f":"\"- Ein Fenster erscheint. Der letzte Punkt in diesem Fenster ist „Eigenschaften“\"","v":"- Ein Fenster erscheint. Der letzte Punkt in diesem Fenster ist „Eigenschaften“"}]
[null,{"$f":"\"- Wählen Sie diesen Punkt aus\"","v":"- Wählen Sie diesen Punkt aus"}]
[null,{"$f":"\"- Setzen Sie in dem erscheinenden Fenster den Haken bei „Zulassen“ (siehe unten)\"","v":"- Setzen Sie in dem erscheinenden Fenster den Haken bei „Zulassen“ (siehe unten)"}]
[null,{"$f":"\"- Klicken Sie auf „Übernehmen“ und dann auf „OK“\"","v":"- Klicken Sie auf „Übernehmen“ und dann auf „OK“"}]
[null,{"$f":"\"- Danach können Sie die Datei öffnen und mit ihr arbeiten.\"","v":"- Danach können Sie die Datei öffnen und mit ihr arbeiten."}]

{"sheet":"input","index":1,"n_rows":59,"n_cols":32,"rows_kept":59,"cut":false,"hidden":false,"merged":[[1,11,3,19],[27,18,27,19],[27,20,27,21],[26,20,26,21],[26,18,26,19],[25,18,25,23],[10,20,10,21],[11,20,11,21],[24,15,24,26],[45,15,45,17],[45,18,45,19],[45,20,45,21],[45,22,45,23],[45,24,45,26],[36,20,36,21],[26,22,26,23],[27,22,27,23],[27,24,27,26],[28,24,28,26],[29,24,29,26],[30,24,30,26],[29,20,29,21],[29,22,29,23],[28,18,28,19],[28,20,28,21],[28,22,28,23],[29,18,29,19],[30,18,30,19],[30,20,30,21],[30,22,30,23],[44,18,44,19],[44,20,44,21],[44,22,44,23],[5,1,6,1],[5,2,5,10],[5,11,6,11],[5,12,6,12],[5,13,6,13],[16,27,16,28],[7,20,7,21],[8,20,8,21],[9,20,9,21],[7,27,7,28],[8,27,8,28],[9,27,9,28],[10,27,10,28],[41,22,41,23],[42,20,42,21],[42,22,42,23],[43,20,43,21],[43,22,43,23],[44,24,44,26],[36,22,36,23],[37,18,37,19],[38,18,38,19],[39,18,39,19],[40,18,40,19],[42,18,42,19],[42,24,42,26],[41,18,41,19],[37,20,37,21],[37,22,37,23],[37,24,37,26],[38,24,38,26],[40,20,40,21],[40,22,40,23],[41,20,41,21],[1,1,3,10],[38,20,38,21],[38,22,38,23],[39,20,39,21],[39,22,39,23],[27,15,27,17],[28,15,28,17],[29,15,29,17],[30,15,30,17],[13,20,13,21],[14,20,14,21],[15,20,15,21],[16,20,16,21],[1,20,3,28],[12,23,12,28],[31,15,31,17],[31,18,31,19],[31,20,31,21],[31,22,31,23],[35,24,36,26],[34,15,34,26],[31,24,31,26],[32,24,32,26],[32,18,32,19],[42,15,42,17],[43,15,43,17],[44,15,44,17],[17,27,17,28],[18,27,18,28],[17,20,17,21],[18,20,18,21],[39,24,39,26],[40,24,40,26],[41,24,41,26],[35,15,36,17],[25,24,26,26],[37,15,37,17],[38,15,38,17],[39,15,39,17],[40,15,40,17],[41,15,41,17],[43,24,43,26],[43,18,43,19],[32,20,32,21],[35,18,35,23],[32,22,32,23],[32,15,32,17],[36,18,36,19]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Messsystemanalyse Verfahren 7\nattributive Merkmale (Bosch Heft Nr. 10 / AIAG)"]
[]
[]
[]
[null,"Teil","Prüfergebnisse",null,null,null,null,null,null,null,null,"Refe-renz"," Ref. Wert","Code"]
[null,null,"A-1","A-2","A-3","B-1","B-2","B-3","C-1","C-2","C-3",null,null,null,null,null,"Merkmal",null,null,null,null,null,null,"Messmittel",null,null,null,null,null,null,null,"Diese Version ist eingeschränkt"]
[null,1,1,1,1,1,1,1,1,1,1,1,null,{"$f":"IF(C8<>\"\",IF(SUM(C8:L8)=COUNT(C8:L8),\"+\",IF(SUM(C8:L8)=0,\"-\",\"x\")),\"\")","v":"+"},null,null,"Bezeichnung",null,null,null,null,null,null,"Name",null,null,null,null,null,null,null,"- Es sind maximal 5 Teile vergleichbar"]
[null,{"$f":"B8+1","v":2},1,1,1,1,1,1,1,1,1,1,null,{"$f":"IF(C9<>\"\",IF(SUM(C9:L9)=COUNT(C9:L9),\"+\",IF(SUM(C9:L9)=0,\"-\",\"x\")),\"\")","v":"+"},null,null,"Merkmalsnummer",null,null,null,null,null,null,"Nummer",null,null,null,null,null,null,null,{"$f":"\"- Die Datei ist nur als .xlsm speicherbar\"","v":"- Die Datei ist nur als .xlsm speicherbar"}]
[null,3,0,0,0,0,0,0,0,0,0,0,null,"-",null,null,"Masseinheit",null,null,null,null,null,null,"Standort"]
[null,4,0,0,0,0,0,0,0,0,0,0,null,"-",null,null,"Zeichnungsnummer",null,null,null,null,null,null,"Kalibrierschein",null,null,null,null,null,null,null,"Die Version für bis zu 50 Teile (M0467) können Sie unter untenstehendem Link erwerben"]
[null,5,0,0,0,0,0,0,0,0,0,0,null,"-",null,null,"Änderungsstand",null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"HYPERLINK(\"https://www.sixsigmablackbelt.de/preisvergleich/\",\"Preise und Bestellung\")","v":"Preise und Bestellung"}]
[null,6,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,"Bewertung Ergebnis / Fleiss Kappa"]
[null,7,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfer A",null,null,null,"Prüfer A",null,null,"Ergebnis <=",null,null,0.7,0.8,1,null,null,"Fragen gerne an:"]
[null,8,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfer B",null,null,null,"Prüfer B",null,null,"Fleiss Kappa <=",null,null,0.7,0.8,1,null,null,{"$f":"HYPERLINK(\"mailto:roland.schnurr@sixsigmablackbelt.de\",\"roland.schnurr@sixsigmablackbelt.de\")","v":"roland.schnurr@sixsigmablackbelt.de"}]
[null,9,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfer C",null,null,null,"Prüfer C",null,null,"Spezifikation"]
[null,10,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfdatum",null,null,null,null,null,null,"Untere Spez.-Grenze"]
[null,11,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfung durch ",null,null,null,null,null,null,"Obere Spez.-Grenze"]
[null,12,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfung durch Name",null,null,null,null,null,null,"Auflösung"]
[null,13,null,null,null,null,null,null,null,null,null,null,null,""]
[null,14,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Anzahl Durchgänge",null,null,null,{"$f":"IF(C8<>\"\",COUNT(C8:E8),\"\")","v":3}]
[null,15,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Anzahl Teile",null,null,null,{"$f":"IF(C8<>\"\",COUNT(C8:C57),\"\")","v":5}]
[null,16,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Anzahl Prüfer",null,null,null,{"$f":"IF(C8<>\"\",COUNT(C8,F8,I8),\"\")","v":3}]
[null,17,null,null,null,null,null,null,null,null,null,null,null,""]
[null,18,null,null,null,null,null,null,null,null,null,null,null,"",null,"Prüfer"]
[null,19,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,"Innerhalb Prüfer",null,null,null,null,null,"Zwischen den Prüfern"]
[null,20,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,{"$f":"U14","v":"Prüfer A"},null,{"$f":"U15","v":"Prüfer B"},null,{"$f":"U16","v":"Prüfer C"}]
[null,21,null,null,null,null,null,null,null,null,null,null,null,"",null,"Geprüft gesamt",null,null,{"$f":"calculation!S28","v":5},null,{"$f":"calculation!U28","v":5},null,{"$f":"calculation!W28","v":5},null,{"$f":"calculation!Y28","v":5}]
[null,22,null,null,null,null,null,null,null,null,null,null,null,"",null,"Anzahl richtig",null,null,{"$f":"calculation!S29","v":5},null,{"$f":"calculation!U29","v":5},null,{"$f":"calculation!W29","v":5},null,{"$f":"calculation!Y29","v":5}]
[null,23,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% obere CI",null,null,{"$f":"calculation!S30","v":1},null,{"$f":"calculation!U30","v":1},null,{"$f":"calculation!W30","v":1},null,{"$f":"calculation!Y30","v":1}]
[null,24,null,null,null,null,null,null,null,null,null,null,null,"",null,"Ergebnis",null,null,{"$f":"calculation!S31","v":1},null,{"$f":"calculation!U31","v":1},null,{"$f":"calculation!W31","v":1},null,{"$f":"calculation!Y31","v":1}]
[null,25,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% untere CI",null,null,{"$f":"calculation!S32","v":0.47817624989501856},null,{"$f":"calculation!U32","v":0.47817624989501856},null,{"$f":"calculation!W32","v":0.47817624989501856},null,{"$f":"calculation!Y32","v":0.47817624989501856}]
[null,26,null,null,null,null,null,null,null,null,null,null,null,"",null,"Fleiss Kappa",null,null,{"$f":"calculation!S33","v":1},null,{"$f":"calculation!U33","v":1},null,{"$f":"calculation!W33","v":1},null,{"$f":"calculation!Y33","v":1}]
[null,27,null,null,null,null,null,null,null,null,null,null,null,""]
[null,28,null,null,null,null,null,null,null,null,null,null,null,"",null,"Prüfer vs. Referenz"]
[null,29,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,"Einzelne Prüfer vs. Referenz",null,null,null,null,null,"Alle Prüfer vs. Referenz"]
[null,30,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,{"$f":"S27","v":"Prüfer A"},null,{"$f":"U27","v":"Prüfer B"},null,{"$f":"W27","v":"Prüfer C"}]
[null,31,null,null,null,null,null,null,null,null,null,null,null,"",null,"Geprüft gesamt",null,null,{"$f":"calculation!S38","v":5},null,{"$f":"calculation!U38","v":5},null,{"$f":"calculation!W38","v":5},null,{"$f":"calculation!Y38","v":5}]
[null,32,null,null,null,null,null,null,null,null,null,null,null,"",null,"Anzahl richtig",null,null,{"$f":"calculation!S39","v":5},null,{"$f":"calculation!U39","v":5},null,{"$f":"calculation!W39","v":5},null,{"$f":"calculation!Y39","v":5}]
[null,33,null,null,null,null,null,null,null,null,null,null,null,"",null,"falsch positiv",null,null,{"$f":"calculation!S40","v":0},null,{"$f":"calculation!U40","v":0},null,{"$f":"calculation!W40","v":0}]
[null,34,null,null,null,null,null,null,null,null,null,null,null,"",null,"falsch negativ",null,null,{"$f":"calculation!S41","v":0},null,{"$f":"calculation!U41","v":0},null,{"$f":"calculation!W41","v":0}]
[null,35,null,null,null,null,null,null,null,null,null,null,null,"",null,"gemixt",null,null,{"$f":"calculation!S42","v":0},null,{"$f":"calculation!U42","v":0},null,{"$f":"calculation!W42","v":0}]
[null,36,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% obere CI",null,null,{"$f":"calculation!S43","v":1},null,{"$f":"calculation!U43","v":1},null,{"$f":"calculation!W43","v":1},null,{"$f":"calculation!Y43","v":1}]
[null,37,null,null,null,null,null,null,null,null,null,null,null,"",null,"Ergebnis",null,null,{"$f":"calculation!S44","v":1},null,{"$f":"calculation!U44","v":1},null,{"$f":"calculation!W44","v":1},null,{"$f":"calculation!Y44","v":1}]
[null,38,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% untere CI",null,null,{"$f":"calculation!S45","v":0.47817624989501856},null,{"$f":"calculation!U45","v":0.47817624989501856},null,{"$f":"calculation!W45","v":0.47817624989501856},null,{"$f":"calculation!Y45","v":0.47817624989501856}]
[null,39,null,null,null,null,null,null,null,null,null,null,null,"",null,"Fleiss Kappa",null,null,{"$f":"calculation!S46","v":1},null,{"$f":"calculation!U46","v":1},null,{"$f":"calculation!W46","v":1},null,{"$f":"calculation!Y46","v":1}]
[null,40,null,null,null,null,null,null,null,null,null,null,null,""]
[null,{"$f":"B47+1","v":41},null,null,null,null,null,null,null,null,null,null,null,"",null,"Anmerkungen:"]
[null,{"$f":"B48+1","v":42},null,null,null,null,null,null,null,null,null,null,null,"",null,"Mindestens 3 Prüfer und 3 Durchgänge, ansonsten falsche Ergebnisse"]
[null,43,null,null,null,null,null,null,null,null,null,null,null,"",null,"Bosch ermittelt aus allen Kappa Werten den Minimalwert und bewertet anhand dessen"]
[null,44,null,null,null,null,null,null,null,null,null,null,null,"",null,"das Messsystem. Falls Sie weniger als 50 Werte erfassen wollen, bitte nur die"]
[null,45,null,null,null,null,null,null,null,null,null,null,null,"",null,"Prüfergebnisse und Referenz entfernen. Der Code verändert sich automatisch und "]
[null,46,null,null,null,null,null,null,null,null,null,null,null,"",null,"ist geschützt."]
[null,47,null,null,null,null,null,null,null,null,null,null,null,""]
[null,48,null,null,null,null,null,null,null,null,null,null,null,""]
[null,49,null,null,null,null,null,null,null,null,null,null,null,""]
[null,50,null,null,null,null,null,null,null,null,null,null,null,""]
[]
[null,null,"Datum:"," ________",null,null,null,null,null,null,null,null,"Unterschrift:"," ___________________________________",null,null,null,null,null,null,null,null,null,"Abteilung:"," _______________________________"]

{"sheet":"calculation","index":2,"n_rows":75,"n_cols":80,"rows_kept":75,"cut":false,"hidden":true,"merged":[[1,1,3,10],[1,11,3,19],[1,20,3,27],[5,1,6,1],[5,2,5,10],[5,11,6,11],[5,12,6,12],[5,13,6,13],[24,15,24,26],[7,20,7,21],[7,27,7,28],[8,20,8,21],[8,27,8,28],[9,20,9,21],[9,27,9,28],[10,20,10,21],[10,27,10,28],[11,20,11,21],[15,27,15,28],[16,27,16,28],[25,18,25,23],[25,24,25,26],[26,18,26,19],[26,20,26,21],[26,22,26,23],[26,24,26,26],[27,18,27,19],[27,20,27,21],[27,22,27,23],[27,24,27,26],[28,18,28,19],[28,20,28,21],[28,22,28,23],[28,24,28,26],[29,18,29,19],[29,20,29,21],[29,22,29,23],[29,24,29,26],[30,18,30,19],[30,20,30,21],[30,22,30,23],[30,24,30,26],[32,15,32,17],[32,18,32,19],[32,20,32,21],[32,22,32,23],[32,24,32,26],[31,15,31,17],[31,18,31,19],[31,20,31,21],[31,22,31,23],[31,24,31,26],[34,15,34,26],[35,18,35,23],[35,24,36,26],[36,18,36,19],[36,20,36,21],[36,22,36,23],[43,18,43,19],[43,24,43,26],[37,18,37,19],[37,20,37,21],[37,22,37,23],[37,24,37,26],[38,18,38,19],[38,24,38,26],[39,18,39,19],[40,18,40,19],[41,18,41,19],[42,18,42,19],[42,24,42,26],[44,18,44,19],[44,20,44,21],[44,22,44,23],[44,24,44,26],[45,15,45,17],[45,18,45,19],[45,20,45,21],[45,22,45,23],[45,24,45,25]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,"Messsystemanalyse Verfahren 7\nattributive Merkmale (Bosch Heft Nr. 10 / AIAG)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"TODAY()","v":"2026-04-07"},null,"2026-04-07",{"$f":"IF(AG3=AI3,1,0)","v":1},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"A*B*C"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"nik",null,null,"nik*(Nik-1)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"3 Durchl",null,"mix","2 Durchl.",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"k=1","K=2",null,"k=1","K=2"]
[null,"Part","Appraiser-Evaluation",null,null,null,null,null,null,null,null,"Stan-dard","Standard Value","Code",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"A",null,null,null,null,null,null,null,"B",null,null,null,"C",null,null,null,"All",null,null,null,0,1,null,0,1,null,null,null,null,"A*A",null,"B*B",null,null,"C*C",null,null,null,null,"A1-Ref","A2-Ref","A3-Ref","B1-Ref","B2-Ref","B3-Ref","C1-Ref","C2-Ref","C3-Ref"]
[null,null,"A-1","A-2","A-3","B-1","B-2","B-3","C-1","C-2","C-3",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(C8<>\"\",IF(AND(C8=D8,D8=E8),1,0),\"\")","v":1},{"$f":"IF(C8<>\"\",IF(AND(C8=D8,D8=E8,E8=L8),1,0),\"\")","v":1},{"$f":"IF(AG7<>\"\",IF(AG7<>AH7,$L8,\"\"),\"\")","v":""},{"$f":"IF(C8<>\"\",IF(AND(C8=D8),1,0),\"\")","v":1},{"$f":"IF(C8<>\"\",IF(AND(C8=D8,D8=L8),1,0),\"\")","v":1},{"$f":"IF(AJ7<>\"\",IF(AJ7<>AK7,$L8,\"\"),\"\")","v":""},null,null,{"$f":"IF(F8<>\"\",IF(AND(F8=G8,F8=H8),1,0),\"\")","v":1},{"$f":"IF(F8<>\"\",IF(AND(F8=G8,G8=H8,H8=L8),1,0),\"\")","v":1},{"$f":"IF(AO7<>\"\",IF(AO7<>AP7,L8,\"\"),\"\")","v":""},null,{"$f":"IF(I8<>\"\",IF(AND(I8=J8,J8=K8),1,0),\"\")","v":1},{"$f":"IF(I8<>\"\",IF(AND(I8=J8,J8=K8,K8=L8),1,0),\"\")","v":1},{"$f":"IF(AS7<>\"\",IF(AS7<>AT7,L8,\"\"),\"\")","v":""},null,{"$f":"IF(C8<>\"\",IF(OR(SUM(C8:K8)=COUNT(C8:K8),SUM(C8:K8)=0),1,0),\"\")","v":1},{"$f":"IF(AT7<>\"\",IF(AH7+AP7+AT7=3,1,0),\"\")","v":1}]
[null,1,{"$f":"IF(input!C8=\"\",\"\",input!C8)","v":1},{"$f":"IF(input!D8=\"\",\"\",input!D8)","v":1},{"$f":"IF(input!E8=\"\",\"\",input!E8)","v":1},{"$f":"IF(input!F8=\"\",\"\",input!F8)","v":1},{"$f":"IF(input!G8=\"\",\"\",input!G8)","v":1},{"$f":"IF(input!H8=\"\",\"\",input!H8)","v":1},{"$f":"IF(input!I8=\"\",\"\",input!I8)","v":1},{"$f":"IF(input!J8=\"\",\"\",input!J8)","v":1},{"$f":"IF(input!K8=\"\",\"\",input!K8)","v":1},{"$f":"IF(input!L8=\"\",\"\",input!L8)","v":1},null,{"$f":"IF(C8<>\"\",IF(SUM(C8:K8)=COUNT(C8:K8),\"+\",IF(SUM(C8:K8)=0,\"-\",\"x\")),\"\")","v":"+"},null,null,"Reference Value",null,null,null,null,null,null,"Date Preformed",null,null,null,null,null,null,null,null,1,1,{"$f":"IF(AG8<>\"\",IF(AG8<>AH8,$L9,\"\"),\"\")","v":""},{"$f":"IF(C9<>\"\",IF(AND(C9=D9),1,0),\"\")","v":1},{"$f":"IF(C9<>\"\",IF(AND(C9=D9,D9=L9),1,0),\"\")","v":1},{"$f":"IF(AJ8<>\"\",IF(AJ8<>AK8,$L9,\"\"),\"\")","v":""},null,null,1,1,"",null,1,1,"",null,1,{"$f":"IF(AT8<>\"\",IF(AH8+AP8+AT8=3,1,0),\"\")","v":1},null,null,{"$f":"COUNTIF(C8:K8,0)","v":0},{"$f":"COUNTIF(C8:K8,1)","v":9},null,{"$f":"BA8*(BA8-1)","v":0},{"$f":"BB8*(BB8-1)","v":72},null,{"$f":"IF(C8=\"\",\"\",IF(C8=D8,2,0))","v":2},{"$f":"IF(E8=\"\",\"\",IF(C8=E8,2,0))","v":2},{"$f":"IF(D8=\"\",\"\",IF(D8=E8,2,0))","v":2},{"$f":"SUM(BG8:BI8)","v":6},{"$f":"IF(G8=\"\",\"\",IF(F8=G8,2,0))","v":2},{"$f":"IF(H8=\"\",\"\",IF(F8=H8,2,0))","v":2},{"$f":"IF(H8=\"\",\"\",IF(G8=H8,2,0))","v":2},{"$f":"SUM(BK8:BM8)","v":6},{"$f":"IF(J8=\"\",\"\",IF(I8=J8,2,0))","v":2},{"$f":"IF(K8=\"\",\"\",IF(I8=K8,2,0))","v":2},{"$f":"IF(K8=\"\",\"\",IF(J8=K8,2,0))","v":2},{"$f":"SUM(BO8:BQ8)","v":6},{"$f":"BD8+BE8","v":72},{"$f":"IF(C8=\"\",\"\",IF(C8=$L8,2,0))","v":2},{"$f":"IF(D8=\"\",\"\",IF(D8=$L8,2,0))","v":2},{"$f":"IF(E8=\"\",\"\",IF(E8=$L8,2,0))","v":2},{"$f":"IF(F8=\"\",\"\",IF(F8=$L8,2,0))","v":2},{"$f":"IF(G8=\"\",\"\",IF(G8=$L8,2,0))","v":2},{"$f":"IF(H8=\"\",\"\",IF(H8=$L8,2,0))","v":2},{"$f":"IF(I8=\"\",\"\",IF(I8=$L8,2,0))","v":2},{"$f":"IF(J8=\"\",\"\",IF(J8=$L8,2,0))","v":2},{"$f":"IF(K8=\"\",\"\",IF(K8=$L8,2,0))","v":2}]
[null,{"$f":"B8+1","v":2},{"$f":"IF(input!C9=\"\",\"\",input!C9)","v":1},{"$f":"IF(input!D9=\"\",\"\",input!D9)","v":1},{"$f":"IF(input!E9=\"\",\"\",input!E9)","v":1},{"$f":"IF(input!F9=\"\",\"\",input!F9)","v":1},{"$f":"IF(input!G9=\"\",\"\",input!G9)","v":1},{"$f":"IF(input!H9=\"\",\"\",input!H9)","v":1},{"$f":"IF(input!I9=\"\",\"\",input!I9)","v":1},{"$f":"IF(input!J9=\"\",\"\",input!J9)","v":1},{"$f":"IF(input!K9=\"\",\"\",input!K9)","v":1},{"$f":"IF(input!L9=\"\",\"\",input!L9)","v":1},null,{"$f":"IF(C9<>\"\",IF(SUM(C9:K9)=COUNT(C9:K9),\"+\",IF(SUM(C9:K9)=0,\"-\",\"x\")),\"\")","v":"+"},null,null,"Specification Number",null,null,null,null,null,null,"Gage Name",null,null,null,null,null,null,null,null,1,1,"",1,1,"",null,null,1,1,"",null,1,1,"",null,1,1,null,null,0,9,null,{"$f":"BA9*(BA9-1)","v":0},72,null,2,2,2,{"$f":"SUM(BG9:BI9)","v":6},2,2,2,{"$f":"SUM(BK9:BM9)","v":6},2,2,2,{"$f":"SUM(BO9:BQ9)","v":6},{"$f":"BD9+BE9","v":72},2,2,2,2,2,2,2,2,2]
[null,3,{"$f":"IF(input!C10=\"\",\"\",input!C10)","v":0},{"$f":"IF(input!D10=\"\",\"\",input!D10)","v":0},{"$f":"IF(input!E10=\"\",\"\",input!E10)","v":0},{"$f":"IF(input!F10=\"\",\"\",input!F10)","v":0},{"$f":"IF(input!G10=\"\",\"\",input!G10)","v":0},{"$f":"IF(input!H10=\"\",\"\",input!H10)","v":0},{"$f":"IF(input!I10=\"\",\"\",input!I10)","v":0},{"$f":"IF(input!J10=\"\",\"\",input!J10)","v":0},{"$f":"IF(input!K10=\"\",\"\",input!K10)","v":0},{"$f":"IF(input!L10=\"\",\"\",input!L10)","v":0},null,"-",null,null,"Characteristic Name",null,null,null,null,null,null,"Gage Number",null,null,null,null,null,null,null,null,1,1,"",1,1,"",null,null,1,1,"",null,1,1,"",null,1,1,null,null,9,0,null,72,0,null,2,2,2,6,2,2,2,6,2,2,2,6,72,2,2,2,2,2,2,2,2,2]
[null,4,{"$f":"IF(input!C11=\"\",\"\",input!C11)","v":0},{"$f":"IF(input!D11=\"\",\"\",input!D11)","v":0},{"$f":"IF(input!E11=\"\",\"\",input!E11)","v":0},{"$f":"IF(input!F11=\"\",\"\",input!F11)","v":0},{"$f":"IF(input!G11=\"\",\"\",input!G11)","v":0},{"$f":"IF(input!H11=\"\",\"\",input!H11)","v":0},{"$f":"IF(input!I11=\"\",\"\",input!I11)","v":0},{"$f":"IF(input!J11=\"\",\"\",input!J11)","v":0},{"$f":"IF(input!K11=\"\",\"\",input!K11)","v":0},{"$f":"IF(input!L11=\"\",\"\",input!L11)","v":0},null,"-",null,null,"Characteristic Type",null,null,null,null,null,null,"Gage Type",null,null,null,null,null,null,null,null,1,1,"",1,1,"",null,null,1,1,"",null,1,1,"",null,1,1,null,null,9,0,null,72,0,null,2,2,2,6,2,2,2,6,2,2,2,6,72,2,2,2,2,2,2,2,2,2]
[null,5,{"$f":"IF(input!C12=\"\",\"\",input!C12)","v":0},{"$f":"IF(input!D12=\"\",\"\",input!D12)","v":0},{"$f":"IF(input!E12=\"\",\"\",input!E12)","v":0},{"$f":"IF(input!F12=\"\",\"\",input!F12)","v":0},{"$f":"IF(input!G12=\"\",\"\",input!G12)","v":0},{"$f":"IF(input!H12=\"\",\"\",input!H12)","v":0},{"$f":"IF(input!I12=\"\",\"\",input!I12)","v":0},{"$f":"IF(input!J12=\"\",\"\",input!J12)","v":0},{"$f":"IF(input!K12=\"\",\"\",input!K12)","v":0},{"$f":"IF(input!L12=\"\",\"\",input!L12)","v":0},null,"-",null,null,"TPS Anzahl",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,9,0,null,72,0,null,2,2,2,6,2,2,2,6,2,2,2,6,72,2,2,2,2,2,2,2,2,2]
[null,6,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,"Score <",null,null,0.81,0.95,1,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,7,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfer A",null,null,null,"Prüfer A",null,null,"Fleiss Kappa <",null,null,0.81,0.95,1,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,8,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfer B",null,null,null,"Prüfer B",null,null,"Specifications",null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,9,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfer C",null,null,null,"Prüfer C",null,null," - LSL",null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,10,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfdatum",null,null,null,null,null,null," - USL",null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,11,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfung durch Id",null,null,null,null,null,null,"Resolution",null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,12,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Prüfung durch Name",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,13,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,14,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Anzahl Durchgänge",null,null,null,{"$f":"IF(C8<>\"\",COUNT(C8:E8),\"\")","v":3},null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,15,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Anzahl Teile",null,null,null,{"$f":"IF(C8<>\"\",COUNT(C8:C57),\"\")","v":5},null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,16,null,null,null,null,null,null,null,null,null,null,null,"",null,null,"Anzahl of Prüfer",null,null,null,{"$f":"IF(C8<>\"\",COUNT(C8,F8,I8),\"\")","v":3},null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,17,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,18,null,null,null,null,null,null,null,null,null,null,null,"",null,"Prüfer",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,19,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,"Innerhalb Prüfer",null,null,null,null,null,"Zwischen",null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,20,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,{"$f":"U14","v":"Prüfer A"},null,{"$f":"U15","v":"Prüfer B"},null,{"$f":"U16","v":"Prüfer C"},null,"Prüfer",null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,21,null,null,null,null,null,null,null,null,null,null,null,"",null,"Geprüft gesamt",null,null,{"$f":"IF(C8<>\"\",COUNT(C8:C57),\"\")","v":5},null,{"$f":"IF(F8<>\"\",COUNT(F8:F57),\"\")","v":5},null,{"$f":"IF(I8<>\"\",COUNT(I8:I57),\"\")","v":5},null,{"$f":"S28","v":5},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,22,null,null,null,null,null,null,null,null,null,null,null,"",null,"# Matched",null,null,{"$f":"IF(U21=3,IF(C8<>\"\",SUM(AG7:AG56),\"\"),IF(C8<>\"\",SUM(AJ7:AJ56),\"\"))","v":5},null,{"$f":"IF(F8<>\"\",SUM(AO7:AO56),\"\")","v":5},null,{"$f":"IF(I8<>\"\",SUM(AS7:AS56),\"\")","v":5},null,{"$f":"IF(S28<>\"\",SUM(AW7:AW56),\"\")","v":5},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,23,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% upper CI",null,null,{"$f":"IF(S29<>\"\",IF(S28=S29,1,(2*(S29+1)*FINV(0.025,2*(S29+1),2*(S28-S29)))/(2*(S28-S29)+2*(S29+1)*FINV(0.025,2*(S29+1),2*(S28-S29)))),\"\")","v":1},null,{"$f":"IF(U29<>\"\",IF(U28=U29,1,(2*(U29+1)*FINV(0.025,2*(U29+1),2*(U28-U29)))/(2*(U28-U29)+2*(U29+1)*FINV(0.025,2*(U29+1),2*(U28-U29)))),\"\")","v":1},null,{"$f":"IF(W29<>\"\",IF(W28=W29,1,(2*(W29+1)*FINV(0.025,2*(W29+1),2*(W28-W29)))/(2*(W28-W29)+2*(W29+1)*FINV(0.025,2*(W29+1),2*(W28-W29)))),\"\")","v":1},null,{"$f":"IF(Y29<>\"\",IF(Y28=Y29,1,(2*(Y29+1)*FINV(0.025,2*(Y29+1),2*(Y28-Y29)))/(2*(Y28-Y29)+2*(Y29+1)*FINV(0.025,2*(Y29+1),2*(Y28-Y29)))),\"\")","v":1},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,24,null,null,null,null,null,null,null,null,null,null,null,"",null,"Ergebnis",null,null,{"$f":"IF(S28<>\"\",(S29/S28)/AJ3,\"\")","v":1},null,{"$f":"IF(U28<>\"\",(U29/U28)/AJ3,\"\")","v":1},null,{"$f":"IF(W28<>\"\",(W29/W28)/AJ3,\"\")","v":1},null,{"$f":"IF(Y28<>\"\",Y29/Y28,\"\")","v":1},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,25,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% lower CI",null,null,{"$f":"IF(S29<>\"\",IF(S29=0,0,(2*S29*FINV(0.975,2*S29,2*(S28-S29+1)))/(2*(S28-S29+1)+2*S29*FINV(0.975,2*S29,2*(S28-S29+1)))),\"\")","v":0.47817624989501856},null,{"$f":"IF(U29<>\"\",IF(S29=0,0,(2*U29*FINV(0.975,2*U29,2*(U28-U29+1)))/(2*(U28-U29+1)+2*U29*FINV(0.975,2*U29,2*(U28-U29+1)))),\"\")","v":0.47817624989501856},null,{"$f":"IF(W29<>\"\",IF(S29=0,0,(2*W29*FINV(0.975,2*W29,2*(W28-W29+1)))/(2*(W28-W29+1)+2*W29*FINV(0.975,2*W29,2*(W28-W29+1)))),\"\")","v":0.47817624989501856},null,{"$f":"IF(Y29<>\"\",IF(S29=0,0,(2*Y29*FINV(0.975,2*Y29,2*(Y28-Y29+1)))/(2*(Y28-Y29+1)+2*Y29*FINV(0.975,2*Y29,2*(Y28-Y29+1)))),\"\")","v":0.47817624989501856},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,26,null,null,null,null,null,null,null,null,null,null,null,"",null,"Fleiss Kappa",null,null,{"$f":"BJ73/AJ3","v":1},null,{"$f":"BN73/AJ3","v":1},null,{"$f":"BR73/AJ3","v":1},null,{"$f":"BS73","v":1},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,27,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,28,null,null,null,null,null,null,null,null,null,null,null,"",null,"Prüfer vs. Standard",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,29,null,null,null,null,null,null,null,null,null,null,null,"",null,"Source",null,null,"Einzelne Prüfer vs. Standard",null,null,null,null,null,"Alle Prüfer vs. Standard ",null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,30,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,{"$f":"S27","v":"Prüfer A"},null,{"$f":"U27","v":"Prüfer B"},null,{"$f":"W27","v":"Prüfer C"},null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,31,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(C38<>\"\",IF(SUM(C38:K38)=9,\"+\",IF(SUM(C38:K38)=0,\"-\",\"x\")),\"\")","v":""},null,"Geprüft gesamt",null,null,{"$f":"S28","v":5},null,{"$f":"U28","v":5},null,{"$f":"W28","v":5},null,{"$f":"S38","v":5},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,32,null,null,null,null,null,null,null,null,null,null,null,"",null,"# Matched",null,null,{"$f":"IF(S38<>\"\",SUM(AH7:AH56),\"\")","v":5},null,{"$f":"IF(U38<>\"\",SUM(AP7:AP56),\"\")","v":5},null,{"$f":"IF(W38<>\"\",SUM(AT7:AT56),\"\")","v":5},null,{"$f":"IF(S38<>\"\",SUM(AX7:AX56),\"\")","v":5},null,null,null,null,null,null,null,"","","","","","",null,null,{"$f":"IF(F40<>\"\",IF(AND(F40=G40,F40=H40),1,0),\"\")","v":""},{"$f":"IF(F40<>\"\",IF(AND(F40=G40,G40=H40,H40=L40),1,0),\"\")","v":""},{"$f":"IF(AO39<>\"\",IF(AO39<>AP39,L40,\"\"),\"\")","v":""},null,{"$f":"IF(I40<>\"\",IF(AND(I40=J40,J40=K40),1,0),\"\")","v":""},{"$f":"IF(I40<>\"\",IF(AND(I40=J40,J40=K40,K40=L40),1,0),\"\")","v":""},{"$f":"IF(AS39<>\"\",IF(AS39<>AT39,L40,\"\"),\"\")","v":""},null,{"$f":"IF(C40<>\"\",IF(OR(SUM(C40:K40)=COUNT(C40:K40),SUM(C40:K40)=0),1,0),\"\")","v":""},"",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,33,null,null,null,null,null,null,null,null,null,null,null,"",null,"False Positive (*5)",null,null,{"$f":"IF(S38<>\"\",COUNTIF(AI7:AI56,\"=1\"),\"\")","v":0},null,{"$f":"IF(U38<>\"\",COUNTIF(AQ7:AQ56,\"=1\"),\"\")","v":0},null,{"$f":"IF(W38<>\"\",COUNTIF(AU7:AU56,\"=1\"),\"\")","v":0},null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"",{"$f":"IF(AT40<>\"\",IF(AH40+AP40+AT40=3,1,0),\"\")","v":""},null,null,{"$f":"COUNTIF(C40:K40,0)","v":0},{"$f":"COUNTIF(C40:K40,1)","v":0},null,0,0,null,{"$f":"IF(C40=\"\",\"\",IF(C40=D40,2,0))","v":""},{"$f":"IF(E40=\"\",\"\",IF(C40=E40,2,0))","v":""},{"$f":"IF(D40=\"\",\"\",IF(D40=E40,2,0))","v":""},0,{"$f":"IF(G40=\"\",\"\",IF(F40=G40,2,0))","v":""},{"$f":"IF(H40=\"\",\"\",IF(F40=H40,2,0))","v":""},{"$f":"IF(H40=\"\",\"\",IF(G40=H40,2,0))","v":""},0,{"$f":"IF(J40=\"\",\"\",IF(I40=J40,2,0))","v":""},{"$f":"IF(K40=\"\",\"\",IF(I40=K40,2,0))","v":""},{"$f":"IF(K40=\"\",\"\",IF(J40=K40,2,0))","v":""},0,0,{"$f":"IF(C40=\"\",\"\",IF(C40=$L40,2,0))","v":""},{"$f":"IF(D40=\"\",\"\",IF(D40=$L40,2,0))","v":""},{"$f":"IF(E40=\"\",\"\",IF(E40=$L40,2,0))","v":""},{"$f":"IF(F40=\"\",\"\",IF(F40=$L40,2,0))","v":""},{"$f":"IF(G40=\"\",\"\",IF(G40=$L40,2,0))","v":""},{"$f":"IF(H40=\"\",\"\",IF(H40=$L40,2,0))","v":""},{"$f":"IF(I40=\"\",\"\",IF(I40=$L40,2,0))","v":""},{"$f":"IF(J40=\"\",\"\",IF(J40=$L40,2,0))","v":""},{"$f":"IF(K40=\"\",\"\",IF(K40=$L40,2,0))","v":""}]
[null,34,null,null,null,null,null,null,null,null,null,null,null,"",null,"False Negative (*6)",null,null,{"$f":"IF(S38<>\"\",COUNTIF(AI7:AI56,\"=0\"),\"\")","v":0},null,{"$f":"IF(U38<>\"\",COUNTIF(AQ7:AQ56,\"=0\"),\"\")","v":0},null,{"$f":"IF(W38<>\"\",COUNTIF(AU7:AU56,\"=0\"),\"\")","v":0},null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,35,null,null,null,null,null,null,null,null,null,null,null,"",null,"Mixed",null,null,{"$f":"IF(S38<>\"\",S38-S39-S40-S41,\"\")","v":0},null,{"$f":"IF(U38<>\"\",U38-U39-U40-U41,\"\")","v":0},null,{"$f":"IF(W38<>\"\",W38-W39-W40-W41,\"\")","v":0},null,null,null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,36,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% upper CI (*7)",null,null,{"$f":"IF(S39<>\"\",IF(S38=S39,1,(2*(S39+1)*FINV(0.025,2*(S39+1),2*(S38-S39)))/(2*(S38-S39)+2*(S39+1)*FINV(0.025,2*(S39+1),2*(S38-S39)))),\"\")","v":1},null,{"$f":"IF(U39<>\"\",IF(U38=U39,1,(2*(U39+1)*FINV(0.025,2*(U39+1),2*(U38-U39)))/(2*(U38-U39)+2*(U39+1)*FINV(0.025,2*(U39+1),2*(U38-U39)))),\"\")","v":1},null,{"$f":"IF(W39<>\"\",IF(W38=W39,1,(2*(W39+1)*FINV(0.025,2*(W39+1),2*(W38-W39)))/(2*(W38-W39)+2*(W39+1)*FINV(0.025,2*(W39+1),2*(W38-W39)))),\"\")","v":1},null,{"$f":"IF(Y39<>\"\",IF(Y38=Y39,1,(2*(Y39+1)*FINV(0.025,2*(Y39+1),2*(Y38-Y39)))/(2*(Y38-Y39)+2*(Y39+1)*FINV(0.025,2*(Y39+1),2*(Y38-Y39)))),\"\")","v":1},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,37,null,null,null,null,null,null,null,null,null,null,null,"",null,"Ergebnis",null,null,{"$f":"IF(S38<>\"\",S39/S38,\"\")","v":1},null,{"$f":"IF(U38<>\"\",U39/U38,\"\")","v":1},null,{"$f":"IF(W38<>\"\",W39/W38,\"\")","v":1},null,{"$f":"IF(Y38<>\"\",Y39/Y38,\"\")","v":1},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,38,null,null,null,null,null,null,null,null,null,null,null,"",null,"95% lower CI (*7)",null,null,{"$f":"IF(S39<>\"\",IF(S39=0,0,(2*S39*FINV(0.975,2*S39,2*(S38-S39+1)))/(2*(S38-S39+1)+2*S39*FINV(0.975,2*S39,2*(S38-S39+1)))),\"\")","v":0.47817624989501856},null,{"$f":"IF(U39<>\"\",IF(S39=0,0,(2*U39*FINV(0.975,2*U39,2*(U38-U39+1)))/(2*(U38-U39+1)+2*U39*FINV(0.975,2*U39,2*(U38-U39+1)))),\"\")","v":0.47817624989501856},null,{"$f":"IF(W39<>\"\",IF(S39=0,0,(2*W39*FINV(0.975,2*W39,2*(W38-W39+1)))/(2*(W38-W39+1)+2*W39*FINV(0.975,2*W39,2*(W38-W39+1)))),\"\")","v":0.47817624989501856},null,{"$f":"IF(Y39<>\"\",IF(S39=0,0,(2*Y39*FINV(0.975,2*Y39,2*(Y38-Y39+1)))/(2*(Y38-Y39+1)+2*Y39*FINV(0.975,2*Y39,2*(Y38-Y39+1)))),\"\")","v":0.47817624989501856},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,39,null,null,null,null,null,null,null,null,null,null,null,"",null,"Fleiss Kappa",null,null,{"$f":"BT74","v":1},null,{"$f":"BW74","v":1},null,{"$f":"BZ74","v":1},null,{"$f":"BT75","v":1},null,null,null,null,null,null,null,"","","","","","",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,40,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,{"$f":"B47+1","v":41},null,null,null,null,null,null,null,null,null,null,null,"",null,"Anmerkungen:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,{"$f":"B48+1","v":42},null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,43,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,44,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,45,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,46,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,47,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,48,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,49,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"","","",null,null,"",null,null,"","","",null,"","","",null,"","",null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,50,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,null,0,0,null,"","","",0,"","","",0,"","","",0,0,"","","","","","","","",""]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Summe",{"$f":"SUM(BA8:BA57)","v":27},{"$f":"SUM(BB8:BB57)","v":18},null,{"$f":"SUM(BD8:BD57)","v":216},{"$f":"SUM(BE8:BE57)","v":144},null,null,null,null,{"$f":"SUM(BJ8:BJ57)","v":30},null,null,null,{"$f":"SUM(BN8:BN57)","v":30},null,null,null,{"$f":"SUM(BR8:BR57)","v":30},{"$f":"SUM(BS8:BS57)","v":360},{"$f":"six_m(BT8:BT57)","v":10},{"$f":"six_m(BU8:BU57)","v":10},{"$f":"six_m(BV8:BV57)","v":10},{"$f":"six_m(BW8:BW57)","v":10},{"$f":"six_m(BX8:BX57)","v":10},{"$f":"six_m(BY8:BY57)","v":10},{"$f":"six_m(BZ8:BZ57)","v":10},{"$f":"six_m(CA8:CA57)","v":10},{"$f":"six_m(CB8:CB57)","v":10}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"COUNT(BG8:BG57)*2","v":10},{"$f":"COUNT(BH8:BH57)*2","v":10},{"$f":"COUNT(BI8:BI57)*2","v":10},{"$f":"SUM(BG59:BI59)","v":30},{"$f":"COUNT(BK8:BK57)*2","v":10},10,10,{"$f":"SUM(BK59:BM59)","v":30},10,10,10,{"$f":"SUM(BO59:BQ59)","v":30},{"$f":"BD68","v":360},{"$f":"COUNT(BT8:BT57)*2","v":10},{"$f":"COUNT(BU8:BU57)*2","v":10},10,10,10,10,10,10,10]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"A",null,"B",null,null,null,null,null,"C",null,null,null,null,null,null,null,null,null,null,null,{"$f":"BA58+BB58","v":45},null,null,{"$f":"BD58+BE58","v":360},null,null,null,null,null,{"$f":"BJ58/BJ59","v":1},null,null,null,{"$f":"BN58/BN59","v":1},null,null,null,{"$f":"BR58/BR59","v":1},{"$f":"BS58/BS59","v":1},{"$f":"BT58/BT59","v":1},1,{"$f":"IF(BV59=0,\"\",BV58/BV59)","v":1},1,1,{"$f":"IF(BY59=0,\"\",BY58/BY59)","v":1},1,1,{"$f":"IF(CB59=0,\"\",CB58/CB59)","v":1}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(S28<>\"\",S30-S31,\"\")","v":0},null,{"$f":"IF(U28<>\"\",U30-U31,\"\")","v":0},null,null,null,null,null,{"$f":"IF(W28<>\"\",W30-W31,\"\")","v":0},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"COUNTIF($C$8:$E$57,0)","v":9},null,null,null,{"$f":"COUNTIF($F$8:$H$57,0)","v":9},null,null,null,{"$f":"COUNTIF($I$8:$K$57,0)","v":9},{"$f":"COUNTIF($C$8:$K$57,0)","v":27},{"$f":"COUNTIF(C$8:C$57,0)+COUNTIF($L$8:$L$57,0)","v":6},6,6,6,6,6,6,6,6]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(S28<>\"\",S31-S32,\"\")","v":0.52182375010498139},null,{"$f":"IF(U28<>\"\",U31-U32,\"\")","v":0.52182375010498139},null,null,null,null,null,{"$f":"IF(W28<>\"\",W31-W32,\"\")","v":0.52182375010498139},null,null,null,null,null,null,null,null,null,null,null,{"$f":"BA58/$BA$60","v":0.6},{"$f":"BB58/$BA$60","v":0.4},null,{"$f":"BA8+BB8","v":9},null,null,null,null,null,{"$f":"COUNTIF($C$8:$E$57,1)","v":6},null,null,null,{"$f":"COUNTIF($F$8:$H$57,1)","v":6},null,null,null,{"$f":"COUNTIF($I$8:$K$57,1)","v":6},{"$f":"COUNTIF($C$8:$K$57,1)","v":18},{"$f":"COUNTIF(C$8:C$57,1)+COUNTIF($L$8:$L$57,1)","v":4},4,4,4,4,4,4,4,4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(S28<>\"\",S43-S44,\"\")","v":0},null,{"$f":"IF(U28<>\"\",U43-U44,\"\")","v":0},null,null,null,null,null,{"$f":"IF(W28<>\"\",W43-W44,\"\")","v":0}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(S28<>\"\",S44-S45,\"\")","v":0.52182375010498139},null,{"$f":"IF(U28<>\"\",U44-U45,\"\")","v":0.52182375010498139},null,null,null,null,null,{"$f":"IF(W28<>\"\",W44-W45,\"\")","v":0.52182375010498139}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"BJ62+BJ61","v":15},null,null,null,{"$f":"BN62+BN61","v":15},null,null,null,{"$f":"BR62+BR61","v":15},{"$f":"BS62+BS61","v":45},{"$f":"BT62+BT61","v":10},{"$f":"BU62+BU61","v":10},10,10,10,10,10,10,10]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"BA62*BA62","v":0.36},{"$f":"BB62*BB62","v":0.16000000000000003},null,{"$f":"BD62*(BD62-1)","v":72},null,null,null,null,null,{"$f":"BJ61/BJ65","v":0.6},null,null,null,{"$f":"BN61/BN65","v":0.6},null,null,null,{"$f":"BR61/BR65","v":0.6},{"$f":"BS61/BS65","v":0.6},{"$f":"BT61/BT65","v":0.6},0.6,0.6,0.6,0.6,0.6,0.6,0.6,0.6]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"BJ62/BJ65","v":0.4},null,null,null,{"$f":"BN62/BN65","v":0.4},null,null,null,{"$f":"BR62/BR65","v":0.4},{"$f":"BS62/BS65","v":0.4},{"$f":"BT62/BT65","v":0.4},0.4,0.4,0.4,0.4,0.4,0.4,0.4,0.4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"BD66*S28","v":360},null,null,null,null,null,{"$f":"BJ66*BJ66","v":0.36},null,null,null,{"$f":"BN66*BN66","v":0.36},null,null,null,{"$f":"BR66*BR66","v":0.36},{"$f":"BS66*BS66","v":0.36},{"$f":"BT66*BT66","v":0.36},0.36,0.36,0.36,0.36,0.36,0.36,0.36,0.36]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"BJ67*BJ67","v":0.16000000000000003},null,null,null,{"$f":"BN67*BN67","v":0.16000000000000003},null,null,null,{"$f":"BR67*BR67","v":0.16000000000000003},{"$f":"BS67*BS67","v":0.16000000000000003},0.16000000000000003,0.16000000000000003,0.16000000000000003,0.16000000000000003,0.16000000000000003,0.16000000000000003,0.16000000000000003,0.16000000000000003,0.16000000000000003]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"BA66+BB66","v":0.52},null,null,{"$f":"BD60/BD68","v":1},null,"Pexp",null,null,null,{"$f":"BJ69+BJ68","v":0.52},null,null,null,{"$f":"BN69+BN68","v":0.52},null,null,null,{"$f":"BR69+BR68","v":0.52},{"$f":"BS69+BS68","v":0.52},{"$f":"BT69+BT68","v":0.52},0.52,0.52,0.52,0.52,0.52,0.52,0.52,0.52]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Within Prüfer"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"between",{"$f":"(BD71-BA71)/(1-BA71)","v":1},null,null,null,null,null,{"$f":"IF(BJ60=1,1,(BJ60-BJ71)/(1-BJ71))","v":1},null,null,null,{"$f":"IF(BN60=1,1,(BN60-BN71)/(1-BN71))","v":1},null,null,null,{"$f":"IF(BR60=1,1,(BR60-BR71)/(1-BR71))","v":1},1,1,1,1,1,1,1,1,1,1]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"AVERAGE(BT73:BV73)","v":1},null,null,{"$f":"AVERAGE(BW73:BY73)","v":1},null,null,{"$f":"AVERAGE(BZ73:CB73)","v":1}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"AVERAGE(BT73:CB73)","v":1}]

{"sheet":"example","index":3,"n_rows":55,"n_cols":35,"rows_kept":55,"cut":false,"hidden":false,"merged":[]}
["Info und Kontakt",null,"roland.schnurr@sixsigmablackbelt.de"]
["Homepage:",null,"www.sixsigmablackbelt.de"]
[]
["Werte aus Bosch Heft Nr. 10",null,null,null,null,null,null,null,null,null,null,null,"Werte berechnet mit Minitab"]
["A-1","A-2","A-3","B-1","B-2","B-3","C-1","C-2","C-3","Referenz",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"A-1","A-2","A-3","B-1","B-2","B-3","C-1","C-2","C-3","Referenz"]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,0,0,0,0,0,0,0]
[0,0,0,0,0,0,0,0,0,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,0,0,0,0,0,0,0]
[0,0,0,0,0,0,0,0,0,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,0,0,0,0,0,0,0]
[1,1,0,1,1,0,1,0,0,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,0,1,1,0,1,0,0,1]
[1,1,1,1,1,1,1,0,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,0,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,0,0,0,0,0,0,0]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,1,0,0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,0,0,0,0,1,0,0]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,0,1,1,1,1,0,0,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,0,1,1,1,1,0,0,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1]
[1,1,0,1,0,1,0,1,0,1]
[0,0,1,0,1,0,1,1,0,0]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0]
[0,1,0,0,0,0,0,0,1,0]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,1,0,0,0,0]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[0,0,1,0,0,1,0,1,1,0]
[1,1,1,1,1,1,1,1,1,1]
[1,1,0,1,1,1,1,0,1,1]
[0,0,0,0,0,0,0,0,0,0]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0]
[1,0,1,1,1,1,1,1,0,1]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0]
[1,1,1,1,1,1,1,1,1,1]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0]
[1,1,1,1,1,1,1,1,1,1]
[0,0,0,0,0,0,0,0,0,0]